|  | Simulation of 装配体3 Date: 2026年3月2日 Designer: Solidworks Study name: 静应力分析 1 Analysis type: Static. Table of Contents Description 1 Assumptions 2 Model Information 3 Study Properties 10 Units 11 Material Properties 12 Loads and Fixtures 14 Connector Definitions 15 Interaction Information 16 Mesh information 17 Sensor Details 19 Resultant Forces 19 Beams 19 Study Results 20 Conclusion 23. |
| --- | --- |
| # Description No Data |  |

# Assumptions

# Model Information Model name: 装配体3 Current Configuration: 默认. Solid Bodies. Document Name and Reference; Treated As; Volumetric Properties; Document Path/Date Modified. 凸台-拉伸4; Solid Body; Mass:18.4719 kg Volume:0.00230899 m^3 Density:8,000 kg/m^3 Weight:181.025 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管1.SLDPRT Mar 2 17:23:07 2026. 凸台-拉伸1[2]; Solid Body; Mass:3.05178 kg Volume:0.000381472 m^3 Density:8,000 kg/m^3 Weight:29.9074 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管1.SLDPRT Mar 2 17:23:07 2026. 凸台-拉伸8; Solid Body; Mass:17.76 kg Volume:0.00222 m^3 Density:8,000 kg/m^3 Weight:174.048 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管1.SLDPRT Mar 2 17:23:07 2026. 凸台-拉伸5; Solid Body; Mass:326.211 kg Volume:0.0407899 m^3 Density:7,997.35 kg/m^3 Weight:3,196.87 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管1.SLDPRT Mar 2 17:23:07 2026. 凸台-拉伸3; Solid Body; Mass:17.7591 kg Volume:0.00221989 m^3 Density:8,000 kg/m^3 Weight:174.039 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 凸台-拉伸1[1]; Solid Body; Mass:9.84366 kg Volume:0.00123046 m^3 Density:8,000 kg/m^3 Weight:96.4678 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 凸台-拉伸1[2]; Solid Body; Mass:11.5192 kg Volume:0.0014399 m^3 Density:8,000 kg/m^3 Weight:112.888 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 扫描-薄件1; Solid Body; Mass:450.756 kg Volume:0.0563445 m^3 Density:8,000 kg/m^3 Weight:4,417.41 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 凸台-拉伸4; Solid Body; Mass:17.76 kg Volume:0.00222 m^3 Density:8,000 kg/m^3 Weight:174.048 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 凸台-拉伸6; Solid Body; Mass:17.76 kg Volume:0.00222 m^3 Density:8,000 kg/m^3 Weight:174.048 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 镜向2; Solid Body; Mass:17.7591 kg Volume:0.00221989 m^3 Density:8,000 kg/m^3 Weight:174.039 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 镜向1; Solid Body; Mass:17.7591 kg Volume:0.00221989 m^3 Density:8,000 kg/m^3 Weight:174.039 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管2.SLDPRT Mar 2 17:20:31 2026. 扫描-薄件1; Solid Body; Mass:495.831 kg Volume:0.0619789 m^3 Density:8,000 kg/m^3 Weight:4,859.15 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 凸台-拉伸4; Solid Body; Mass:17.76 kg Volume:0.00222 m^3 Density:8,000 kg/m^3 Weight:174.048 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 镜向2; Solid Body; Mass:17.7591 kg Volume:0.00221989 m^3 Density:8,000 kg/m^3 Weight:174.039 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 凸台-拉伸6; Solid Body; Mass:17.76 kg Volume:0.00222 m^3 Density:8,000 kg/m^3 Weight:174.048 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 镜向1; Solid Body; Mass:17.7591 kg Volume:0.00221989 m^3 Density:8,000 kg/m^3 Weight:174.039 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 凸台-拉伸3; Solid Body; Mass:17.7591 kg Volume:0.00221989 m^3 Density:8,000 kg/m^3 Weight:174.039 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 凸台-拉伸1[1]; Solid Body; Mass:10.828 kg Volume:0.0013535 m^3 Density:8,000 kg/m^3 Weight:106.115 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 凸台-拉伸1[2]; Solid Body; Mass:12.6711 kg Volume:0.00158389 m^3 Density:8,000 kg/m^3 Weight:124.177 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管3.SLDPRT Mar 2 17:18:14 2026. 凸台-拉伸8; Solid Body; Mass:19.36 kg Volume:0.00242 m^3 Density:8,000 kg/m^3 Weight:189.728 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管4.SLDPRT Mar 2 17:14:14 2026. 凸台-拉伸7; Solid Body; Mass:17.76 kg Volume:0.00222 m^3 Density:8,000 kg/m^3 Weight:174.048 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管4.SLDPRT Mar 2 17:14:14 2026. 凸台-拉伸5[2]; Solid Body; Mass:144.027 kg Volume:0.0180033 m^3 Density:8,000 kg/m^3 Weight:1,411.46 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管4.SLDPRT Mar 2 17:14:14 2026. 凸台-拉伸5[1]; Solid Body; Mass:1,037.53 kg Volume:0.129692 m^3 Density:8,000 kg/m^3 Weight:10,167.8 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管4.SLDPRT Mar 2 17:14:14 2026. 凸台-拉伸4; Solid Body; Mass:19.36 kg Volume:0.00242 m^3 Density:8,000 kg/m^3 Weight:189.728 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管5.SLDPRT Mar 2 18:09:46 2026. 凸台-拉伸2; Solid Body; Mass:1,110.31 kg Volume:0.138789 m^3 Density:8,000 kg/m^3 Weight:10,881.1 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管5.SLDPRT Mar 2 18:09:46 2026. 凸台-拉伸3; Solid Body; Mass:19.36 kg Volume:0.00242 m^3 Density:8,000 kg/m^3 Weight:189.728 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管5.SLDPRT Mar 2 18:09:46 2026. 凸台-拉伸3; Solid Body; Mass:15.9106 kg Volume:0.00198883 m^3 Density:8,000 kg/m^3 Weight:155.924 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 凸台-拉伸2; Solid Body; Mass:17.193 kg Volume:0.00214913 m^3 Density:8,000 kg/m^3 Weight:168.492 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 拉伸-薄壁3; Solid Body; Mass:10.0032 kg Volume:0.0012504 m^3 Density:8,000 kg/m^3 Weight:98.0314 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 凸台-拉伸7; Solid Body; Mass:19.3677 kg Volume:0.00242097 m^3 Density:8,000 kg/m^3 Weight:189.804 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 放样-薄件2; Solid Body; Mass:583.394 kg Volume:0.0726908 m^3 Density:8,025.69 kg/m^3 Weight:5,717.26 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 凸台-拉伸6; Solid Body; Mass:17.7256 kg Volume:0.0022157 m^3 Density:8,000 kg/m^3 Weight:173.711 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 凸台-拉伸5; Solid Body; Mass:15.9841 kg Volume:0.00199802 m^3 Density:8,000 kg/m^3 Weight:156.645 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 凸台-拉伸4; Solid Body; Mass:15.4693 kg Volume:0.00193366 m^3 Density:8,000 kg/m^3 Weight:151.599 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026. 凸台-拉伸8; Solid Body; Mass:20.8864 kg Volume:0.0026108 m^3 Density:8,000 kg/m^3 Weight:204.687 N; E:\工作\2026\XXX\接管 2026.02.13\5mm\接管6.SLDPRT Mar 2 17:08:08 2026.

# Study Properties Study name; 静应力分析 1. Analysis type; Static. Mesh type; Solid Mesh. Thermal Effect:; On. Thermal option; Include temperature loads. Zero strain temperature; 298 Kelvin. Include fluid pressure effects from SOLIDWORKS Flow Simulation; Off. Solver type; Automatic. Inplane Effect:; Off. Soft Spring:; Off. Inertial Relief:; Off. Incompatible bonding options; Automatic. Contact penalty stiffness scale factor; 1. Large displacement; Off. Compute free body forces; On. Friction; Off. Use Adaptive Method:; Off. Result folder; SOLIDWORKS document (E:\工作\2026\XXX\接管 2026.02.13\5mm).

# Units Unit system:; SI (MKS). Length/Displacement; mm. Temperature; Kelvin. Angular velocity; Rad/sec. Pressure/Stress; N/m^2.

# Material Properties Model Reference; Properties; Components. Name:; AISI 304. Model type:; Linear Elastic Isotropic. Default failure criterion:; Unknown. Yield strength:; 2.06807e+08 N/m^2. Tensile strength:; 5.17017e+08 N/m^2. Elastic modulus:; 1.9e+11 N/m^2. Poisson's ratio:; 0.29. Mass density:; 8,000 kg/m^3. Shear modulus:; 7.5e+10 N/m^2. Thermal expansion coefficient:; 1.8e-05 /Kelvin.; SolidBody 1(凸台-拉伸4)(接管1-1), SolidBody 2(凸台-拉伸1[2])(接管1-1), SolidBody 3(凸台-拉伸8)(接管1-1), SolidBody 4(凸台-拉伸5)(接管1-1), SolidBody 1(凸台-拉伸3)(接管2-1), SolidBody 2(凸台-拉伸1[1])(接管2-1), SolidBody 3(凸台-拉伸1[2])(接管2-1), SolidBody 4(扫描-薄件1)(接管2-1), SolidBody 5(凸台-拉伸4)(接管2-1), SolidBody 6(凸台-拉伸6)(接管2-1), SolidBody 7(镜向2)(接管2-1), SolidBody 8(镜向1)(接管2-1), SolidBody 1(扫描-薄件1)(接管3-1), SolidBody 2(凸台-拉伸4)(接管3-1), SolidBody 3(镜向2)(接管3-1), SolidBody 4(凸台-拉伸6)(接管3-1), SolidBody 5(镜向1)(接管3-1), SolidBody 6(凸台-拉伸3)(接管3-1), SolidBody 7(凸台-拉伸1[1])(接管3-1), SolidBody 8(凸台-拉伸1[2])(接管3-1), SolidBody 1(凸台-拉伸8)(接管4-1), SolidBody 2(凸台-拉伸7)(接管4-1), SolidBody 3(凸台-拉伸5[2])(接管4-1), SolidBody 4(凸台-拉伸5[1])(接管4-1), SolidBody 1(凸台-拉伸4)(接管5-1), SolidBody 2(凸台-拉伸2)(接管5-1), SolidBody 3(凸台-拉伸3)(接管5-1), SolidBody 1(凸台-拉伸3)(接管6-1), SolidBody 2(凸台-拉伸2)(接管6-1), SolidBody 3(拉伸-薄壁3)(接管6-1), SolidBody 4(凸台-拉伸7)(接管6-1), SolidBody 5(放样-薄件2)(接管6-1), SolidBody 6(凸台-拉伸6)(接管6-1), SolidBody 7(凸台-拉伸5)(接管6-1), SolidBody 8(凸台-拉伸4)(接管6-1), SolidBody 9(凸台-拉伸8)(接管6-1). Curve Data:N/A.

# Loads and Fixtures Fixture name; Fixture Image; Fixture Details. 固定-1; Entities:; 2 face(s). Type:; Fixed Geometry.. Resultant Forces Components; X; Y; Z; Resultant. Reaction force(N); -237,820; -704,511; 0.228516; 743,568. Reaction Moment(N.m); 0; 0; 0; 0.. Load name; Load Image; Load Details. 压力-1; Entities:; 8 face(s). Type:; Normal to selected face. Value:; 0.12. Units:; N/mm^2 (MPa). Phase Angle:; 0. Units:; deg.. 压力-2; Entities:; 4 face(s). Type:; Normal to selected face. Value:; 0.12. Units:; N/mm^2 (MPa). Phase Angle:; 0. Units:; deg.. 压力-3; Entities:; 4 face(s). Type:; Normal to selected face. Value:; 0.12. Units:; N/mm^2 (MPa). Phase Angle:; 0. Units:; deg.. 压力-4; Entities:; 4 face(s). Type:; Normal to selected face. Value:; 0.12. Units:; N/mm^2 (MPa). Phase Angle:; 0. Units:; deg.. 压力-5; Entities:; 4 face(s). Type:; Normal to selected face. Value:; 0.12. Units:; N/mm^2 (MPa). Phase Angle:; 0. Units:; deg.. 压力-6; Entities:; 8 face(s). Type:; Normal to selected face. Value:; 0.12. Units:; N/mm^2 (MPa). Phase Angle:; 0. Units:; deg..

# Connector Definitions No Data

# Interaction Information Interaction; Interaction Image; Interaction Properties. 全局交互; Type:; Bonded. Components:; 1 component(s). Options:; Independent mesh..

# Mesh information Mesh type; Solid Mesh. Mesher Used:; Blended curvature-based mesh. Jacobian points for High quality mesh; 16 Points. Maximum element size; 287.567 mm. Minimum element size; 95.8549 mm. Mesh Quality; High. Remesh failed parts independently; Off. Reuse mesh for identical parts in an assembly (Blended curvature-based mesher only); Off. ## Mesh information - Details Total Nodes; 33721. Total Elements; 15433. Maximum Aspect Ratio; 5,572.6. % of elements with Aspect Ratio < 3; 0. Percentage of elements with Aspect Ratio > 10; 99. Percentage of distorted elements; 0. Time to complete mesh(hh;mm;ss):; 00:00:16. Computer name:; OS202507. ## Mesh Quality Plots Name; Type; Min; Max. 品质1; Mesh; -; -. 装配体3-静应力分析 1-Quality-品质1. Name; Type; Min; Max. 诊断2; Mesh Quality Diagnostics : Element volume; 1.746e-09 Element: 1236; 3.702e-04 Element: 14668. 装配体3-静应力分析 1-Quality-诊断2.

# Sensor Details No Data

# Resultant Forces ## Reaction forces Selection set; Units; Sum X; Sum Y; Sum Z; Resultant. Entire Model; N; -237,820; -704,511; 0.228516; 743,568. ## Reaction Moments Selection set; Units; Sum X; Sum Y; Sum Z; Resultant. Entire Model; N.m; 0; 0; 0; 0.

## Free body forces Selection set; Units; Sum X; Sum Y; Sum Z; Resultant. Entire Model; N; 0.132813; -0.90625; 0.470703; 1.0298. ## Free body moments Selection set; Units; Sum X; Sum Y; Sum Z; Resultant. Entire Model; N.m; 0; 0; 0; 1e-33.

# Beams No Data

# Study Results Name; Type; Min; Max. 应力1; VON: von Mises Stress; 3.290e+05N/m^2 Node: 2631; 6.133e+08N/m^2 Node: 1506. 装配体3-静应力分析 1-Stress-应力1. Name; Type; Min; Max. 位移1; URES: Resultant Displacement; 0.000e+00mm Node: 738; 1.255e+01mm Node: 14532. 装配体3-静应力分析 1-Displacement-位移1. Name; Type; Min; Max. 应变1; ESTRN: Equivalent Strain; 2.274e-06 Element: 415; 2.795e-03 Element: 1215. 装配体3-静应力分析 1-Strain-应变1. Name; Type; Min; Max. 安全系数1; Automatic; 3.372e-01 Node: 1506; 3.000e+00 Node: 1. 装配体3-静应力分析 1-Factor of Safety-安全系数1. Name; Type. 设计洞察1; Design Insight. 装配体3-静应力分析 1-Design Insight-设计洞察1.

# Conclusion